## Slide 2
Modelling synchrotron radiation beamlines with
OASYS
Transport of power in a Beamline
Manuel Sanchez del Rio
srio@esrf.fr
Advanced Analysis & Precision Unit, MEG/ISDD, ESRF
March 21st 2025
XOPPY

## Slide 3: Transport of power in a Beamline
Outline:
Source emission: Flux and power spectra.
Optical elements: characteristics and absorbed power.
Flux and power that arrive to the sample
XOPPY

## Slide 4: Simulation of source emission
XOPPY
Source spectrum (Photon flux or power vs Energy)
bending magnet
Wiggler
Bending
magnet
Undulator

## Slide 5: Undulator emission simulation
XOPPY
U42
Slit
30 m

## Slide 6: Undulator emission simulation
XOPPY
U42
Slit
30 m
~50 eV
1st harmonic

## Slide 7: Undulator emission simulation
XOPPY
U42

## Slide 8: Undulator emission simulation
XOPPY
U42

## Slide 9: Undulator emission simulation (gap)
Gap
For ID21 U42b:
a=1.9395
b=1.0164

## Slide 10: Undulator emission simulation
Gap
Reducing
the gap
incrementing K
larger wavelength
(shorter energy)

## Slide 11: Undulator emission simulation
Gap
Reducing
the gap
More power
Central cone flux
On-axis flux
Ref:

## Slide 12: Simulation of source emission
Undulator power density (power vs x, y)
Undulator spectral flux density (flux/power vs x, y, E)
Wiggler spectral flux density (flux/power vs x, y, E)

## Slide 13: Simulation of source emission
Undulator spectral flux density
(flux/power vs x, y, E)
Wiggler spectral flux density
(flux/power vs x, y, E)
y
E
Photon flux
Photon Energy [eV]
1000 5000 10000 15000 20000
x

## Slide 14: Power transport on a beamline
Optical components that could be present in a beamline:
Source
Front end
Water-cooled
slits
Windows
Primary slits
Primary mirrors
Monochromator
Focusing system
Sample
KB mirrors

## Slide 15: Undulator power density (Power vs x, y)
For example, this tool is very useful to get the heat load on a slit:
undulator
Water cooled beamline slit

## Slide 16: Undulator power density (Power vs x, y)
In most of the beamlines at the ESRF the are horizontal slits at 16 m from the source:
X-ray beam
Project over the slit surface (2o angle)
Perpendicular to the beam
Finite element analysis

## Slide 17: Power transport on a beamline
Optical components that could be present in a beamline:
Slit 1
Projected size at
downstream element (A)
Distance from the source (d)
Aperture (a)
Distance from the source (D)
Source
Source
Front end
Water-cooled
slits
Windows
Primary slits
Primary mirrors
Monochromator
Focusing system
Sample
KB mirrors

## Slide 18: Filter (window) absorption
Filters of different thickness
Filters of different materials

## Slide 19: Power absorbed by a filter
Heat load on filters @ 23 m with a projection of 2 mm x 1 mm:
U42-EBS
Material | Thickness [mm] | Absorbed Power [W]
Be | 300 | 19
Diamond | 300 | 40
thickness
material & density
X-ray beam

## Slide 20: Power absorbed by a filter
Heat load on filters @ 23 m with a projection of 2 mm x 1 mm:
Be (300 mm)
Diamond (300 mm)

## Slide 21: Power transport on a beamline
Optical components that could be present in a beamline:
Slit 1
Aperture (a)
Source
Absorption by filters
Absorption power by mirror
Source
Front end
Water-cooled
slits
Windows
Primary slits
Primary mirrors
Monochromator
Focusing system
Sample
KB mirrors

## Slide 22: Mirror absorption
Same material, different angles
Same angle, different coatings

## Slide 23: Mirror absorption
1st Harmonic
3rd Harmonic
1st Harmonic
3rd Harmonic
Example of reflection, primarily mirrors @ 30 m
Absorbed power 113 W
Absorbed power 52 W

## Slide 24: Power absorbed by a mirror
Heat load on mirrors @ 30 m:
Si (7 mrad)
Diamond (100 mm) + Rh (3 mrad)

## Slide 25: Other optical elements in XOPPY
Multilayers
[W(2.5)/Si(2.5)]50
1.4o

## Slide 26: Other optical elements in XOPPY
Crystals
Si (111)
22 keV
Rocking curve
Bragg or reflection
Double crystal monochromator

## Slide 27: Calculation of flux at the sample position
Exercise: estimate the photon flux at the sample position.
KB slits
51 m
Source
Primary mirrors
Monochromator
Focusing system
Sample
KB mirrors
Ni coated
6 mrad
Slits aperture 1 mm x 1 mm
Ni coated 7 mrad
Si (111)
ESRF-ID21
5 keV

## Slide 28: Calculation of flux at the sample position
Exercise: estimate the photon flux at the sample position.
KB slits
51 m
Source
Primary mirrors
Monochromator
Focusing system
Sample
KB mirrors
Ni coated
6 mrad
Slits aperture 1 mm x 1 mm
Ni coated 7 mrad
Si (111)
ESRF-ID21
5 keV